## selected_columns
| Case | Solar_CURRENT GENERATION (kW) | Solar_COST OPTIMIZED GENERATION (kW) | Solar_RELIABILITY OPTIMIZED GENERATION (kW) | Wind_CURRENT GENERATION (kW) | Wind_COST OPTIMIZED GENERATION (kW) | Wind_RELIABILITY OPTIMIZED GENERATION (kW) | Grid_CURRENT GENERATION (kW) | Grid_COST OPTIMIZED GENERATION (kW) | Grid_RELIABILITY OPTIMIZED GENERATION (kW) | BESS_CURRENT GENERATION (kW) | BESS_COST OPTIMIZED GENERATION (kW) | BESS_RELIABILITY OPTIMIZED GENERATION (kW) | Diesel_Generator_2.5_MW_Unit_1_CURRENT GENERATION (kW) | Diesel_Generator_2.5_MW_Unit_1_COST OPTIMIZED GENERATION (kW) | Diesel_Generator_2.5_MW_Unit_1_RELIABILITY OPTIMIZED GENERATION (kW) | Diesel_Generator_1.5_MW_Unit_1_CURRENT GENERATION (kW) | Diesel_Generator_1.5_MW_Unit_1_COST OPTIMIZED GENERATION (kW) | Diesel_Generator_1.5_MW_Unit_1_RELIABILITY OPTIMIZED GENERATION (kW) | Diesel_Generator_1.5_MW_Unit_2_CURRENT GENERATION (kW) | Diesel_Generator_1.5_MW_Unit_2_COST OPTIMIZED GENERATION (kW) | Diesel_Generator_1.5_MW_Unit_2_RELIABILITY OPTIMIZED GENERATION (kW) | TOTAL_CURRENT GENERATION (kW) | TOTAL_COST OPTIMIZED GENERATION (kW) | TOTAL_RELIABILITY OPTIMIZED GENERATION (kW) | TOTAL_CURRENT COST/HR | TOTAL_COST OPTIMIZED COST/HR | TOTAL_RELIABILITY OPTIMIZED COST/HR | TOTAL_TOTAL COST (PKR/kWh)
case 7 | 1 | 550 | 1245 | 2195 | 1625 | 0 | 3775 | 3800 | 0 | 5 | 0 | 4730 | 0 | [9 empty] | 5975 | 5975 | 5975 | 171562.5 | 39957.5 | 33045
case 1 | 2 | 2200 | 2150 | 2195 | 6500 | 0 | 3800 | 0 | 0 | 5 | 0 | 3850 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8700 | 6000 | 6000 | 66750 | 38775 | 33182.5
case 1 | 3 | 2200 | 2199.99 | 2199.99 | 6500 | 6500 | 6500 | 0 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8700 | 8700 | 8700 | 66750 | 66750.37 | 66750.37
case 2 | 4 | 1100 | 2150 | 2195 | 3250 | 0 | 3800 | 1650 | 0 | 5 | 0 | 3850 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6000 | 6000 | 6000 | 93225 | 38775 | 33182.5
case 2 | 5 | 1100 | 1380 | 2195 | 3250 | 0 | 3800 | 1650 | 0 | 5 | 0 | 4620 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6000 | 6000 | 6000 | 93225 | 39930 | 33182.5
case 3 | 6 |  |  |  | 6500 | 6500 | 6495 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6500 | 6500 | 6500 | 39250 | 39250 | 39432.5
case 4 | 7 | 2199.99 | 1269.99 | 2199.99 |  |  |  | 3800 | 0 | 5 | 0 | 4730 | 0 | 0 | 0 | 1727.27 | 0 | 0 | 1031.36 | 0 | 0 | 1036.36 | 5999.99 | 5999.99 | 5999.99 | 171699.94 | 40094.94 | 237942.22